## Slide 1
355 Vertical
Top View
355 Horizontal
370(EIT )
370(EMM)
370(Detection)
370(EIT )
370(Cooling)
370(Pumping)
370(Protection)
399
935
Oven Cables
DC Cables
Microwave Horn
B
Helical Resonator
174
174
171
Spherical Octagon Chamber with Segmented Blade Trap System
PhotonGear Objective
370 Fluorescence Collection
NA=0.6
355 Individual Beam, NA=0.1
Side View

## Slide 2
Beam | (nm) |  | Polarization
370(Detection) | 369.526370 | 0 | 
370(Pumping) | 369.526370 | 0 | 
370(Cooling) | 369.526375 | -10 | 
370(EIT ) | 369.526320 | +1001 | 6
370(EIT ) | 369.526316 | +1002 | 
370(EMM) | 369.526390 | -50 | 7
370(Protection) | 369.526540 | -340 | 
399 | 398.911050 | N/A3 | Unknown
935 | 935.188080 | 0 | Not Optimized8
355 Vertical | 355 | +230.64 | Linear Vertical
355 Horizontal | 355 | +173.045 | Linear Horizontal
355 Individual | 355 | Not determined yet | 
Beam |  |  | Polarization
370(Detection) | 369.526370 | 0 | 
370(Pumping) | 369.526370 | 0 | 
370(Cooling) | 369.526375 | -10 | 
 | 369.526320 | +1001 | 
 | 369.526316 | +1002 | 
370(EMM) | 369.526390 | -50 | 
370(Protection) | 369.526540 | -340 | 
399 | 398.911050 | N/A3 | Unknown
935 | 935.188080 | 0 | Not Optimized8
355 Vertical | 355 | +230.64 | Linear Vertical
355 Horizontal | 355 | +173.045 | Linear Horizontal
355 Individual | 355 | Not determined yet | 
For the transition
For the transition
It is not optimized with Doppler shift
PLL AOM drive frequency
AOM carrier frequency, blue and red sideband is different
It’s combined with Detection beam using PBS into a PM fiber, and their polarization should be perpendicular
It’s combined with EIT beam using PBS into a PM fiber, and their polarization should be perpendicular
should be the main component and there should be some components
355 Vertical
Top View
355 Horizontal
370(EIT )
370(EMM)
370(Detection)
370(EIT )
370(Cooling)
370(Pumping)
370(Protection)
399
935
Oven Cables
DC Cables
Microwave Horn
B
Helical Resonator
174
174
171
Laser Configurations

## Slide 3
Window | Usage | View Area Diameter(mm) | Distance to Ions(mm) | Thickness(mm)
Top Recessed Window | 370 Fluorescence Collection and 355 individual beam | 50 | 15 | 4
Bottom Standard Window | Not in Use | 68.33 | 34.44 | 6.35
Side Window(6) | Laser Beam Access | 16 | 60.17 | 2.16
RF Feedthrough | Feedthrough to helical resonator with the down port of the chamber |  |  | 
DC and Oven feedthroughs | Connected to the main vacuum body and the cables are connected through the up port of the chamber |  |  | 
Objective | NA | WD(mm)
PhotonGear Objective | 0.6 for 370, 0.1 for 355 | 16.7
Objective and Windows
SAES
DC
Oven
Helical resonator